M

1 869

City of

# WAYNE

BUILDING & ENGINEERING DEPARTMENT

FURNACE SAFETY INSPECTION CERTIFICATION

Address:		Date:

Homeowner name:	___	Phone:

Email Address:_________________________________________

| Control/Device | Good | Poor | N/A | Replace | Heat exchangers visually inspected (Y N) Carbon Monoxide tests performed CO reading PPM All controls/safety switches working properly Furnace Type: Forced air, Boiler Furnace make Model # Serial # Comments/Recommendation: |
| --- | --- | --- | --- | --- | --- |
| Ignition Control |  |  |  |  |  |
| Combustion Inducer |  |  |  |  |  |
| Pressure Switch |  |  |  |  |  |
| High Limit |  |  |  |  |  |
| Pilot Assembly |  |  |  |  |  |
| Flame Sensor |  |  |  |  |  |
| Thermal Couple |  |  |  |  |  |
| Fan Limit Switch |  |  |  |  |  |
| Roll-out Switches |  |  |  |  |  |
| Low Pressure Cut-off |  |  |  |  |  |
| Pressure relief valve |  |  |  |  |  |
| Pressure Reducing valve |  |  |  |  |  |
| Burners |  |  |  |  |  |
| Zone Valves |  |  |  |  |  |
| Pump |  |  |  |  |  |
| Filters |  |  |  |  |  |
| Venting Condition |  |  |  |  |  |

Furnace is safe to use as of time of inspection

Furnace is UNSAFE to use as of time of inspection

Company name:		Phone:

License Category: 1 2 3 4 5 6 7 8 9 10 A B C D E F		(Please Circle appropriate category) Address:		City:

License # 		Technician signature:

Licensee name 		Technician name:

(print)	(print)

3200 South Wayne Road ● Wayne, Michigan 48184 ● (734) 728-9100 ● fax: (734) 728-2159 bldgeng@cityofwayne.com	www.cityofwayne.com